## Start here
Start here: pick the case in the yellow cells, then read the twelve numbers below. Everything else in the workbook is the working behind them.
Policy | Current | Current · Draft (75%/15 years) · Corrected (capped two-part tranche + storage)
LNG price case (DES, before the delivery adder) | $15 | $10, $15, $25 or Actual (= JKM Dec-26 settlement, Inputs C19)
Coal price case | 2025 | 2025 (Newcastle average) or Oct-2026
Fixed-cost case for the capacity payment | Low | Low (Inputs D9) or High (Inputs D10)
Resolved values used by the model
Policy index (1 Current, 2 Draft, 3 Corrected) | 1
LNG price, DES (US$/MMBtu) | 15
LNG delivered to the plant incl. adder (US$/MMBtu) | 16.87
Coal price (US$/t) | 108.4
Fixed cost (US$/kW-yr) | 175
LNG fuel cost (US$/MWh) = heat rate × delivered price | 110.3797
Coal fuel cost (US$/MWh) = price ÷ (CV × efficiency) | 40.8804
Non-fuel element of the 2026 ceiling (US$/MWh) | 38.6787
LNG all-in cost at the scenario price (US$/MWh) | 149.0584
Policy changes which projects count on Balance and whether capacity is paid for; LNG price moves Stack and Contracts; coal price moves the gaps on Stack; fixed cost moves the capacity bill. In 2026 LNG and coal moved together (Hormuz).
The story in twelve numbers (at the selected case)
What | Value | Second value | Where it comes from
1. The rule: minimum contracted output for a new LNG plant (Qc), for at most this many years | 65% | 10 | Inputs K1–K2 (Decree 100/2025)
2. LNG capacity operating vs the 2030 plan (MW), and the share | 1624 | 7.21% | Charts C1 block; Inputs D11, G4
3. Fuel cost gap, LNG at US$10 vs coal at the 2025 average (US$/MWh) | 36.7846 |  | Stack: the structural gap
4. The same gap since the war: Sep-27 strip and Dec-26 JKM vs October coal (US$/MWh) | 93.2155 | 160.837 | Stack: the shock gap
5. LNG fuel at the Dec-26 JKM as a multiple of the 2026 gas-plant price ceiling | 1.6881 |  | Stack
6. The tariff cut: VND/kWh, and US$ bn over the five months reported | 44.1618 | 0.2008 | Post numbers; Decision 2892
7. One 1 GW plant under the 65% rule: buyer's cost above market (US$ m/yr) and the plant's stranded fuel (US$ m/yr) | 446.2041 | 86.6608 | Contracts, columns C
8. The same plant under a two-part contract: buyer's cost above market (US$ m/yr); fixed-cost cover under the 65% rule | 353.138 | 1.0366 | Contracts, columns E and C
9. Capacity bill on the capped 4.2 GW tranche: low and high, % of the retail tariff | 3.118% | 5.132% | Post numbers, capacity-bill table (chart C4)
10. Capacity bill on the full 22.5 GW plan: low and high, % of the retail tariff | 16.72% | 27.52% | Post numbers (chart C4); compare Thailand 17%
11. Hours of full-load shortage a year that pay for 1 GW of firm capacity (low / high fixed cost) | 112.5 | 185.1437 | Post numbers; Inputs K14 (2023 outage value)
12. Residual capacity gap in 2030 under the current rule and under the corrected path (MW) | 9614 | 5464 | Balance, policy blocks 1 and 3 (chart C3)
How the sheets fit together
Start here | Pick the case (yellow cells) and read the twelve numbers. Green = linked from another sheet.
About | What the model is, what it is not, the colour key, units and licence.
Inputs | Every number the model uses. Section K at the top holds the levers that drive the story; the rest is base data with a source and a reliability flag on each line.
Balance | Demand and the ministry's shortfall by year, the list of projects that could close it, and the residual gap under each of the three policies (chart C3).
Stack | What a megawatt-hour costs from each source at the chosen prices: the ladder in chart C2 and the three gaps.
Contracts | One 1 GW plant for one year under the 65% rule, the 75% draft and a two-part contract: who pays what, and whether the plant covers its fixed cost.
Post numbers | Every other figure in the post, with its formula: the capacity-bill table (chart C4), the tariff cut, breakeven hours, headroom.
Charts | The data behind charts C1–C5.
Checks | Eight sanity checks against published figures.
Sources | The public documents behind Inputs.
Extras | Working not needed to follow the post: the domestic gas and LNG balance, and the nine-case grid (three policies × three LNG prices).

## About
Marginal Barrel — Country gas–power balance model
Country 2: Vietnam · file vietnam-gas-power-balance-v1 · version 1.0 · 13 November 2026 (draft 7 Nov 2026)
What this is | Vietnam's power balance 2025–2030 with the ministry's own shortfall forecast and the additions that could close it; the marginal-cost stack (what a megawatt-hour costs from coal, from the market and from LNG at several prices); a Contracts sheet that prices one 1 GW LNG plant under the current 65% offtake rule, the ministry's 75% draft and a two-part capacity-plus-fuel contract; and a nine-case grid (three policies × three LNG prices).
Model output, not a forecast | Every number is a model output from the inputs on the Inputs sheet. It is not a forecast of prices, volumes, dispatch or shortages. Public data only; our own arithmetic is labelled 'our calc'.
How to use it | Change the blue cells on Inputs and the selectors on Scenarios. Everything else recalculates. Outputs shows the full scenario grid; Charts holds the data behind charts C1–C5 in the post.
Colour key | Blue text = hard-coded input with a source. Orange text = assumption pending a better source (change these first). Black = formula. Green = link to another sheet. Yellow fill = scenario selector.
Units | Power in TWh and MW. Prices in VND/kWh and US$/MWh (FX on Inputs). Fuel in US$/MMBtu; heat rates in Btu/kWh (MOIT convention). Gas in bcm and Mt of LNG. Money in US$ bn and VND trillion (VND tn).
Sheets | Inputs · Scenarios · Balance (2025–2030, three policies side by side) · Gas_LNG (domestic gas, Block B, LNG need) · Stack (marginal-cost ladder, chart C2) · Contracts (one 1 GW plant under three structures) · Outputs (9-case grid) · Charts (C1–C5 data) · Checks · Sources
Reuse | Same layout as indonesia-gas-balance-v1. To build another country, change only Inputs and the addition list on Balance. A country with no offtake rule sets the Qc share to zero on Contracts.
Licence | Free with the first release of this model (Marginal Barrel library, marginalbarrel.com/library/vietnam-gas-power-balance-v1). Later versions go to the paid tier. Do not resell.
Revision note | Draft 7 Nov 2026 for the 13 Nov post. Open and save once in Excel to cache values if your viewer shows blanks.

## Inputs
ID | Parameter | Unit | Value | Source | Date | Reliability | Note
K. The inputs that drive the story — change these first
K1 | Minimum contracted output (Qc) — current rule | % of average output | 65% | Decree 100/2025/NĐ-CP (8 May 2025), Art. 1(2), amending Art. 15 of Decree 56/2025 | May 2025 | verified (primary)
K2 | Qc term — current rule | years | 10 | Decree 100/2025: during principal-and-interest repayment, not more than 10 years from COD | May 2025 | verified (primary)
K3 | Qc — ministry draft | % of average output | 75% | Government submission to the NA Standing Committee (Nov 2025) via VnExpress/VIR; MOIT draft decree via Tuoi Tre News, 20 Jan 2026 | Nov 2025–Jan 2026 | verified (draft; not adopted)
K4 | Qc term — ministry draft | years | 15 | Same |  | verified (draft)
K5 | Basis of 'average multi-year output': planned load factor | % of nameplate | 85% | Assumption: Decree 100 defers the definition to MOIT's generation-price methodology and the PPA; the 2026 ceiling uses 85% load |  | assumption | Key open input
K6 | Actual dispatch capacity factor of an LNG plant | % | 38% | Our calc: Nhon Trach 3&4 Jan–Apr 2026 = 28% of a 5.4 TWh full-year forecast (Vietcap via The Investor, 8 Jun 2026) → ~38% CF if the forecast holds | 2026 | our calc (broker forecast)
K7 | LNG take-or-pay share of the plant's contracted annual fuel (at the Qc level) | % | 85% | Assumption; Hogan Lovells (14 May 2026): LNG take-or-pay and terminal capacity charges are not mirrored in the PPA. No contract terms are public |  | assumption
K8 | Fixed cost of an LNG CCGT — low case | US$/kW-yr | 175 | Our calc: non-fuel element of MOIT's 2024 ceiling (2,590.85 at 10.56 c; 6,330 Btu/kWh; gas US$12.98 → ~US$23/MWh) at 85% load | 2024 | our calc
K9 | Fixed cost of an LNG CCGT — high case | US$/kW-yr | 288.0013 | Our calc: non-fuel element of the 2026 ceiling (C5 less fuel at C2–C4) at 85% load. Includes variable O&M, so it is an upper bound | 2026 | our calc
K10 | JKM, Dec-26 contract settlement | US$/MMBtu | 31.49 | CME Group JKM futures settlements, trade date 6 Nov 2026 (public page) | 6 Nov 2026 | verified
K11 | JKM, Sep-27 contract settlement | US$/MMBtu | 21.155 | CME Group, 6 Nov 2026 | 6 Nov 2026 | verified
K12 | Newcastle 6,000 kcal coal, 2025 average | US$/t | 108.4 | World Bank Pink Sheet, 3 Nov 2026 | 2025 | verified
K13 | Newcastle 6,000 kcal coal, October 2026 | US$/t | 152.3 | World Bank Pink Sheet, 3 Nov 2026 | Oct 2026 | verified
K14 | Cost of unserved energy | US$/MWh | 1555.5556 | Our calc: E1 ÷ E2 (the 2023 outage cost over the energy not served). Sensitivity 500–2,000 |  | our calc
K15 | Two-hour BESS capacity price — low | US$/MW-month | 2000 | ESS News, 12 Feb 2026 (Rajasthan tender) | Feb 2026 | single-source
K16 | Two-hour BESS capacity price — high | US$/MW-month | 2500 | ESS News, 12 Feb 2026 (GUVNL tender) | Feb 2026 | single-source
K17 | Storage in the ministry's 2027 proposal (midpoint of 2,000–3,000) | MW | 2800 | MOIT via Tiền Phong, 15 Sep 2026 (2,000–3,000 MW by June 2027, with 2,800 MW solar) | Sep 2026 | press
A. Power system base year and demand (base data)
A1 | Generation and imports, 2025 | TWh | 322.8 | EVN 2025 review via Vietnam Energy, early 2026 | 2025 | verified
A2 | Commercial electricity sales, 2025 (denominator for VND/kWh burdens) | TWh | 287.85 | VietnamNet, early 2026 (EVN figure) | 2025 | single-source
A3 | Generation and imports growth, 2026 (year to date) | %/yr | 9.3% | EVN press release 6 Oct 2026: 265.79 TWh in 9M 2026, +9.3% y/y | Sep 2026 | verified
A4 | Demand growth, 2027–30 | %/yr | 8.5% | MOIT 2026 base-case growth scenario via Vietnam News, 12 May 2026 (8.5%; high case 14.1%). PDP8's 2030 output (560.4–624.6 TWh) implies ~11–14%/yr | May 2026 | single-source | Switch to 0.11–0.14 to test the PDP8 path
A5 | Record peak demand, 2026 | MW | 57537 | EVN H1 2026 report (late June 2026) | Jun 2026 | verified
A6 | Generation and imports, 9M 2026 | TWh | 265.79 | EVN press release 6 Oct 2026 | Sep 2026 | verified
A7 | Coal share, 9M 2026 | % | 49.9% | EVN 6 Oct 2026: 132.63 TWh of 265.79 | Sep 2026 | verified
A8 | Hydro share, 9M 2026 | % | 25.8% | EVN 6 Oct 2026: 68.48 TWh | Sep 2026 | verified
A9 | Gas turbine share, 9M 2026 | % | 7.7% | EVN 6 Oct 2026: 20.48 TWh | Sep 2026 | verified
A10 | Renewables share, 9M 2026 (solar 21.5, wind 10.85 TWh) | % | 12.6% | EVN 6 Oct 2026: 33.6 TWh | Sep 2026 | verified
A11 | Imports share, 9M 2026 | % | 3.9% | EVN 6 Oct 2026: 10.3 TWh | Sep 2026 | verified
A12 | Coal share, H1 2026 | % | 54.5% | EVN H1 2026 report: 93.44 of 171.54 TWh | Jun 2026 | verified
A13 | Coal imports, 2024 (energy) | TJ | 1456831 | IEA, Viet Nam coal imports and exports (TJ) | 2024 | verified
A14 | Coal production, 2024 (energy) | TJ | 1189931 | IEA, Viet Nam total coal production (TJ) | 2024 | verified
A15 | Coal exports, 2024 (energy) | TJ | 31569 | IEA, Viet Nam coal imports and exports (TJ) | 2024 | verified
A16 | Coal imports, 2018 (energy) | TJ | 493625 | IEA, Viet Nam coal imports and exports (TJ) | 2018 | verified
A17 | Coal production, 2018 (energy) | TJ | 970359 | IEA, Viet Nam total coal production (TJ) | 2018 | verified
B. The ministry's shortfall forecast (base data; press report of the September 2026 report to the Prime Minister)
B1 | National capacity shortfall, 2027 | MW | 4256 | MOIT report via Tiền Phong (15 Sep 2026) and Báo Đấu thầu (18 Sep 2026); primary report not seen | Sep 2026 | press (two outlets agree)
B1t | National energy shortfall, 2027 | TWh | 2.9 | Same | Sep 2026 | press
B2 | National capacity shortfall, 2028 | MW | 8309 | MOIT report via Tiền Phong (15 Sep 2026) and Báo Đấu thầu (18 Sep 2026); primary report not seen | Sep 2026 | press (two outlets agree)
B2t | National energy shortfall, 2028 | TWh | 20.7 | Same | Sep 2026 | press
B3 | National capacity shortfall, 2029 | MW | 13348 | MOIT report via Tiền Phong (15 Sep 2026) and Báo Đấu thầu (18 Sep 2026); primary report not seen | Sep 2026 | press (two outlets agree)
B3t | National energy shortfall, 2029 | TWh | 50.4 | Same | Sep 2026 | press
B4 | National capacity shortfall, 2030 | MW | 13964 | MOIT report via Tiền Phong (15 Sep 2026) and Báo Đấu thầu (18 Sep 2026); primary report not seen | Sep 2026 | press (two outlets agree)
B4t | National energy shortfall, 2030 | TWh | 61.18 | Same | Sep 2026 | press
B5 | Northern capacity shortfall, 2027 | MW | 5680 | Same. North exceeds national in 2027 and 2029 as reported; kept as published | Sep 2026 | press (anomaly flagged)
B6 | Northern capacity shortfall, 2028 | MW | 9678 | Same. North exceeds national in 2027 and 2029 as reported; kept as published | Sep 2026 | press (anomaly flagged)
B7 | Northern capacity shortfall, 2029 | MW | 14081 | Same. North exceeds national in 2027 and 2029 as reported; kept as published | Sep 2026 | press (anomaly flagged)
B8 | Northern capacity shortfall, 2030 | MW | 13026 | Same. North exceeds national in 2027 and 2029 as reported; kept as published | Sep 2026 | press (anomaly flagged)
B9 | Firm-capacity credit applied to additions when netting against the MW shortfall | % | 90% | Assumption: thermal availability ~90%; imports and storage at 100% (set per row on Balance) |  | assumption
C. Prices and conversions (base data)
C1 | Exchange rate | VND/US$ | 26378 | MOIT Decision 1882/QĐ-BCT, 23 Jul 2026 (rate used for the 2026 CCGT ceiling) | Jul 2026 | verified
C2 | CCGT net heat rate at 85% load | Btu/kWh | 6542.96 | MOIT Decision 1882/QĐ-BCT, Art. 1(2) | Jul 2026 | verified
C3 | Gas price used in the 2026 CCGT ceiling | US$/MMBtu | 11.98 | MOIT Decision 1882/QĐ-BCT | Jul 2026 | verified
C4 | Fuel transport/delivery adder to the plant | US$/MMBtu | 1.87 | MOIT Decision 1882/QĐ-BCT | Jul 2026 | verified
C5 | CCGT generation price ceiling, 2026 (ex-VAT) | VND/kWh | 3410.64 | MOIT Decision 1882/QĐ-BCT; range 0–3,410.64 | Jul 2026 | verified
C6 | CCGT generation price ceiling, 2024 (ex-VAT) | VND/kWh | 2590.85 | MOIT 2024 framework via VnExpress (May 2025 recap) | 2024 | verified
C7 | Reference plant net capacity in the 2026 ceiling | MW | 1008.104 | MOIT Decision 1882/QĐ-BCT | Jul 2026 | verified
C8 | Ceiling load factor | % | 85% | MOIT Decision 1882/QĐ-BCT (heat rate stated at 85% load) | Jul 2026 | verified
C9 | Average retail price from 1 Nov 2026 (ex-VAT) | VND/kWh | 2159.9037 | MOIT Decision 2892/QĐ-BCT (31 Oct 2026), Art. 2; EVN Decision 1305/QĐ-EVN (30 Oct 2026) | Oct 2026 | verified
C10 | Average retail price before 1 Nov 2026 | VND/kWh | 2204.0655 | VietnamPlus, 31 Oct 2026 (2,204.07); 2% cut checks | May 2025 | verified
C11 | EVN unit cost of electricity, 2025 | VND/kWh | 2092.7 | MOIT/MOF cost inspection via CafeF, 28 Oct 2026 | 2025 | single-source
C12 | Prime Minister's band for the average retail price — ceiling | VND/kWh | 2444.09 | Decision 07/2025/QĐ-TTg via CafeF and VnEconomy | Mar 2025 | verified
C13 | Prime Minister's band — floor | VND/kWh | 1826.22 | Decision 07/2025/QĐ-TTg | Mar 2025 | verified
C14 | Wholesale market price, Q1 2026 (FMP) | VND/kWh | 1255 | Index.vn, 19 Apr 2026 | Q1 2026 | single-source
C15 | Wholesale market price, 2025 average | VND/kWh | 1500 | The Leader, 22 Jun 2026 (~1,500) | 2025 | single-source
C16 | Nhon Trach 3&4 selling price — low report | VND/kWh | 2850 | The Leader, 22 Jun 2026 | 2026 | conflicting | Not public; sources conflict
C17 | Nhon Trach 3&4 selling price — high report | VND/kWh | 3600 | Vietnam News, 27 Aug 2026 (broker estimate) | 2026 | conflicting
C18 | Reported LNG plant price spike in the 2026 crisis | VND/kWh | 5000 | The Leader, 22 Jun 2026; Hogan Lovells via Lexology, 14 May 2026 ('approximately VND5,000/kWh') | 2026 | press
C23 | Coal calorific value used for the fuel-cost conversion | kcal/kg | 6000 | Assumption: Newcastle benchmark basis; Vietnam's import blend is lower-CV and cheaper per tonne, so cost per MWh is comparable |  | assumption
C24 | Coal plant net efficiency | % | 38% | Assumption: typical supercritical fleet average; replace with EVN/GENCO data when found |  | assumption
C25 | LNG energy content | MMBtu/t | 52 | Our convention (Shell contract 20.7m MMBtu ≈ 400 kt, VIR Jan 2026) |  | our calc
C26 | Gas energy content | TBtu/bcm | 36 | Assumption (≈1,020 Btu/scf) |  | assumption
D. Contract design — other (base data)
D6 | Reference plant size | MW | 1000 | Convention |  | convention
D11 | Nhon Trach 3&4 capacity | MW | 1624 | Hogan Lovells via Lexology, 14 May 2026; in the competitive market from 1 Jan 2026 | 2026 | verified
D12 | Nhon Trach 3&4 generation forecast, 2026 | TWh | 5.4 | Vietcap via The Investor, 8 Jun 2026 | Jun 2026 | broker forecast
D13 | Investor-stated fixed share of an LNG plant's price | % | 20% | AZEC investor petition (8 Dec 2025) via Vietnam Energy Review, 18 Dec 2025 | Dec 2025 | advocacy
E. The value of firm capacity and storage — other (base data)
E1 | Economic cost of the 2023 outages | US$ bn | 1.4 | World Bank Taking Stock (Aug 2023) via AFP/BSS, 11 Aug 2023: US$1.4bn, 0.3% of GDP, 1.8 GW peak deficit | Aug 2023 | verified (via press)
E2 | Unserved energy in the 2023 outages | GWh | 900 | VnExpress, 10 Aug 2023 (~900 GWh) | Aug 2023 | single-source
E6 | Storage operating at EVN utilities, September 2026 | MW | 205 | EVN press release 6 Oct 2026: EVNHANOI 50 MW + EVNNPC 155 MW | Sep 2026 | verified
E7 | Storage due by October 2026 (additional) | MW | 305 | EVN 6 Oct 2026 | Sep 2026 | verified
E8 | Storage in investment procedures (North) | MW | 850 | EVN 6 Oct 2026: PMB2 550 MW + EVNGENCO3 300 MW | Sep 2026 | verified
E10 | Thailand: availability payments as share of base tariff | % | 17% | IEEFA (0.63 of 3.78 THB/kWh) — advocacy source | 2025 | advocacy
F. Domestic gas and LNG
F1 | Domestic gas production, 2025 (annualised from 4.41 bcm in Jan–Sep) | bcm | 5.9 | The Shiv/NSO, Oct 2025: 4.41 bcm Jan–Sep 2025, −8.3% y/y (our annualisation) | 2025 | our calc
F2 | Decline of existing fields | %/yr | -8.3% | Same: −8.3% y/y in Jan–Sep 2025 | 2025 | single-source
F3 | Block B first gas | year | 2027 | SGGP, 31 Dec 2025 (August 2027; 5.06 bcm/yr plateau; O Mon plants) | Dec 2025 | single-source
F4 | Block B plateau | bcm/yr | 5.06 | SGGP, 31 Dec 2025 | Dec 2025 | single-source
F5 | Block B ramp: share of plateau in first gas year / +1 / +2 | share | 15% | Assumption (Aug 2027 start → ~5/12 of a 35% first-year rate) |  | assumption
F6 | Block B ramp: year +1 | share | 60% | Assumption |  | assumption
F7 | Block B ramp: year +2 and after | share | 100% | Assumption |  | assumption
F8 | Share of domestic gas burned in power plants | % | 80% | Assumption (the balance goes to fertiliser and industry) |  | assumption
F9 | Heat rate of the domestic-gas fleet | Btu/kWh | 7500 | Assumption (older open- and combined-cycle units; Decree 100 dispatches them to the limit of gas supply) |  | assumption
F10 | LNG imports, 2025 | Mt | 0.5 | Policy commission workshop via VietnamNet, 6 Nov 2026 (~500,000 t) | 2025 | press
F11 | Shell term LNG contract, 2027–31 | Mt/yr | 0.4 | VIR, Jan 2026 (20.7m MMBtu/yr) | Jan 2026 | verified
F12 | Thi Vai regas capacity, current / expanded | Mt/yr | 1 | PV Gas: 1 Mtpa, expandable to 3 Mtpa |  | verified
F13 | Thi Vai regas capacity, expanded | Mt/yr | 3 | PV Gas |  | verified
F14 | BNEF forecast of 2030 LNG imports | Mt | 3 | EnergyConnects/Bloomberg, 6 Oct 2026 (cut from 4.9) | Oct 2026 | press
G. Policy and tariff arithmetic
G1 | Retail price cut, 1 Nov 2026 | % | 2.004% | Our calc from C9/C10; EVN announced 2% |  | our calc
G2 | Months the cut is reported to run (1 Nov 2026 – 31 Mar 2027) | months | 5 | VietnamPlus, 27 Oct 2026 (Deputy PM meeting). Decision 2892 itself has no end date | Oct 2026 | press
G3 | Ministry's gross-purchase figure for 75%/15 years on ~6,000 MW | VND tn | 1100 | The Leader, 22 Jun 2026 (~VND 1.1 quadrillion; '+73%') | Jun 2026 | single-source
G4 | PDP8 imported-LNG target, 2030 | MW | 22524 | Decision 768/QĐ-TTg (15 Apr 2025) via Hogan Lovells; VnExpress | Apr 2025 | verified
G5 | PDP8 imported-LNG target, 2035 | MW | 34724 | Decision 768/QĐ-TTg via Hogan Lovells | Apr 2025 | verified
G6 | PDP8 generation, 2030 (low end) | TWh | 560.4 | Decision 768/QĐ-TTg via The Shiv | Apr 2025 | verified

## Balance
Sources: see the Sources sheet; every input is referenced on Inputs. Model output, not a forecast. Marginal Barrel, vietnam-gas-power-balance-v1.
Power balance 2025–2030 (TWh, MW). The ministry's shortfall is exogenous; the model nets the additions each policy brings against it. Model output, not a forecast.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Demand
Generation and imports (TWh) | 322.8 | 352.8204 | 382.8101 | 415.349 | 450.6537 | 488.9592
Peak demand (MW), 2026 actual then grown with demand | 52641.3541 | 57537 | 62427.645 | 67733.9948 | 73491.3844 | 79738.1521
Ministry's capacity shortfall (MW) | 0 | 0 | 4256 | 8309 | 13348 | 13964
Ministry's energy shortfall (TWh) | 0 | 0 | 2.9 | 20.7 | 50.4 | 61.18
Energy shortfall as share of demand | 0% | 0% | 0.7576% | 4.984% | 11.18% | 12.51%
Additions (MW). Flags: counted = 1 if we assume the ministry already netted the project in its shortfall; include = policy in which the project is in (1 Current, 2 Draft, 3 Corrected: a project is in if policy index ≥ include); firm = capacity credit.
Project | MW | COD | Counted | Include ≥ | Firm | Type | Source
Hiep Phuoc 1 LNG (private; PPA 26 Mar 2026; under construction) | 1200 | 2028 | 1 | 1 | 0.9 | LNG | VCCI 31 Mar 2026; Hogan Lovells 14 May 2026; The Star 7 Oct 2026 (COD 2028 vs 2027 conflict)
Quang Trach II LNG (EVN; groundbreaking 20 Oct 2026) | 1500 | 2030 | 0 | 1 | 0.9 | LNG | EVN press releases 6 and 20 Oct 2026; COD year is our assumption
Quang Ninh 1 LNG (named for the 75% draft; no PPA) | 1500 | 2030 | 0 | 2 | 0.9 | LNG | The Leader 22 Jun 2026; COD 2030 is our assumption if financed
O Mon I (domestic gas, Block B) | 660 | 2027 | 1 | 1 | 0.9 | Gas | SGGP 31 Dec 2025
O Mon IV | 1155 | 2028 | 1 | 1 | 0.9 | Gas | SGGP 31 Dec 2025
O Mon II | 1050 | 2029 | 1 | 1 | 0.9 | Gas | SGGP 31 Dec 2025
O Mon III | 1050 | 2030 | 1 | 1 | 0.9 | Gas | SGGP 31 Dec 2025 (O Mon totals conflict: 3,810 vs 3,915)
Laos imports, tranche 1 (proposal) | 700 | 2027 | 0 | 1 | 1 | Import | MOIT via Tiền Phong 15 Sep 2026
Laos imports, tranche 2 (proposal) | 1700 | 2028 | 0 | 1 | 1 | Import | Same
China imports via Mong Cai (Q2 2027) | 600 | 2027 | 0 | 1 | 1 | Import | EVN 6 Oct 2026; MOIT via Tiền Phong (~600 MW)
Storage, ministry's 2027 proposal (2 h) | 2800 | 2027 | 0 | 3 | 1 | Storage | MOIT via Tiền Phong 15 Sep 2026; in the Corrected path only by default
Coal with CCS proposal (off by default: Include = 9) | 5300 | 2030 | 0 | 9 | 0.85 | Coal | EnergyConnects/Bloomberg 6 Oct 2026
Residual gap by policy (MW and TWh). Additions not counted by the ministry are netted, with their firm credit, from the ministry's shortfall. The energy shortfall is scaled by the residual share (crude but transparent).
Policy 1: Current
Firm additions online, not counted by the ministry (MW, cumulative) | 0 | 0 | 1300 | 3000 | 3000 | 4350
of which LNG under a capacity payment (MW) | 0 | 0 | 0 | 0 | 0 | 0
of which storage (MW) | 0 | 0 | 0 | 0 | 0 | 0
Residual capacity gap (MW) | 0 | 0 | 2956 | 5309 | 10348 | 9614
Residual energy shortfall (TWh) | 0 | 0 | 2.0142 | 13.2262 | 39.0725 | 42.1215
Indicative cost at the 2023 outage value (US$ bn; upper bound — a chronic shortfall is rationed by plan and price, so this overstates) | 0 | 0 | 3.1332 | 20.5741 | 60.7794 | 65.5223
Capacity payments: LNG tranche (US$ bn/yr) | 0 | 0 | 0 | 0 | 0 | 0
Capacity payments: storage (US$ bn/yr, midpoint of E4–E5) | 0 | 0 | 0 | 0 | 0 | 0
Capacity payments as share of the retail tariff (on 2025 sales) | 0% | 0% | 0% | 0% | 0% | 0%
Firm additions online, all (MW, cumulative; for chart C3) | 0 | 0 | 1894 | 5713.5 | 6658.5 | 8953.5
Policy 2: Draft (75%/15)
Firm additions online, not counted by the ministry (MW, cumulative) | 0 | 0 | 1300 | 3000 | 3000 | 5700
of which LNG under a capacity payment (MW) | 0 | 0 | 0 | 0 | 0 | 0
of which storage (MW) | 0 | 0 | 0 | 0 | 0 | 0
Residual capacity gap (MW) | 0 | 0 | 2956 | 5309 | 10348 | 8264
Residual energy shortfall (TWh) | 0 | 0 | 2.0142 | 13.2262 | 39.0725 | 36.2068
Indicative cost at the 2023 outage value (US$ bn; upper bound — a chronic shortfall is rationed by plan and price, so this overstates) | 0 | 0 | 3.1332 | 20.5741 | 60.7794 | 56.3217
Capacity payments: LNG tranche (US$ bn/yr) | 0 | 0 | 0 | 0 | 0 | 0
Capacity payments: storage (US$ bn/yr, midpoint of E4–E5) | 0 | 0 | 0 | 0 | 0 | 0
Capacity payments as share of the retail tariff (on 2025 sales) | 0% | 0% | 0% | 0% | 0% | 0%
Firm additions online, all (MW, cumulative; for chart C3) | 0 | 0 | 1894 | 5713.5 | 6658.5 | 10303.5
Policy 3: Corrected
Firm additions online, not counted by the ministry (MW, cumulative) | 0 | 0 | 4100 | 5800 | 5800 | 8500
of which LNG under a capacity payment (MW) | 0 | 0 | 0 | 1200 | 1200 | 4200
of which storage (MW) | 0 | 0 | 2800 | 2800 | 2800 | 2800
Residual capacity gap (MW) | 0 | 0 | 156 | 2509 | 7548 | 5464
Residual energy shortfall (TWh) | 0 | 0 | 0.1063 | 6.2506 | 28.5001 | 23.9392
Indicative cost at the 2023 outage value (US$ bn; upper bound — a chronic shortfall is rationed by plan and price, so this overstates) | 0 | 0 | 0.16535 | 9.7232 | 44.3335 | 37.2388
Capacity payments: LNG tranche (US$ bn/yr) | 0 | 0 | 0 | 0.21 | 0.21 | 0.735
Capacity payments: storage (US$ bn/yr, midpoint of E4–E5) | 0 | 0 | 0.0756 | 0.0756 | 0.0756 | 0.0756
Capacity payments as share of the retail tariff (on 2025 sales) | 0% | 0% | 0.3207% | 1.212% | 1.212% | 3.439%
Firm additions online, all (MW, cumulative; for chart C3) | 0 | 0 | 4694 | 8513.5 | 9458.5 | 13103.5
Reading: no LNG plant can run before 2028, so 2027 is a storage-and-imports year whatever the contract rule. The Current and Draft rows differ only by Quang Ninh 1 in 2030; the Corrected row adds the 2027 storage tranche and pays capacity on the 4.2 GW LNG tranche. The ministry's shortfall already assumes its own base case; which projects it netted is not published (orange flags).

## Stack
Sources: see the Sources sheet; every input is referenced on Inputs. Model output, not a forecast. Marginal Barrel, vietnam-gas-power-balance-v1.
What a megawatt-hour costs at the margin (chart C2). Fuel only unless stated. Model output, not a forecast.
Rung | US$/MWh | VND/kWh | Basis
Wholesale market price, Q1 2026 (FMP) | 47.5775 | 1255 | Index.vn
Coal fuel at the 2025 Newcastle average | 40.8804 | 1078.3422 | Our calc: C21 ÷ (CV × efficiency)
Coal fuel at October 2026 Newcastle | 57.4362 | 1515.0508 | Our calc
EVN unit cost, 2025 | 79.3351 | 2092.7 | CafeF
Average retail price from 1 Nov 2026 | 81.8828 | 2159.9037 | Decision 2892
Prime Minister's ceiling for the average retail price | 92.6564 | 2444.09 | Decision 07/2025
CCGT ceiling, 2024 | 98.2201 | 2590.85 | MOIT 2024 framework
Nhon Trach 3&4 reported price — low | 108.0446 | 2850 | The Leader (conflicting)
CCGT ceiling, 2026 (gas US$11.98 + 1.87) | 129.2987 | 3410.64 | Decision 1882
Nhon Trach 3&4 reported price — high | 136.4774 | 3600 | Vietnam News (broker; conflicting)
LNG fuel at US$10 DES + adder | 77.6649 | 2048.6457 | Our calc: heat rate × delivered price
LNG fuel at US$15 DES + adder | 110.3797 | 2911.5967 | Our calc
LNG fuel at the Sep-27 JKM strip + adder | 150.6517 | 3973.8893 | Our calc; CME 6 Nov 2026
LNG fuel at US$25 DES + adder | 175.8093 | 4637.4986 | Our calc
Reported LNG plant price spike, 2026 | 189.5519 | 5000 | The Leader; Hogan Lovells
LNG fuel at the Dec-26 JKM settlement + adder | 218.2731 | 5757.609 | Our calc; CME 6 Nov 2026
LNG all-in at the scenario price (fuel + non-fuel element of the 2026 ceiling) | 149.0584 | 3931.8624 | Our calc
Non-fuel element of the 2026 ceiling | 38.6787 | 1020.2657 | Our calc: C5 less fuel at C2–C4
Non-fuel share of the 2026 ceiling at US$11.98 gas | 29.91% |  | Our calc (compare the investors' 20%, Inputs D13)
Gaps (US$/MWh)
LNG at US$10 less coal at the 2025 average (structural gap) | 36.7846
LNG at the Sep-27 strip less coal at Oct-2026 (shock gap, low) | 93.2155
LNG at the Dec-26 settlement less coal at Oct-2026 (shock gap, high) | 160.837
LNG fuel at the Dec-26 settlement as a multiple of the 2026 ceiling | 1.6881
Reading: above about US$10 gas, every LNG megawatt-hour costs more than the average customer pays and more than EVN's unit cost; the guaranteed volume is bought out of merit by construction. Model output, not a forecast.

## Contracts
Sources: see the Sources sheet; every input is referenced on Inputs. Model output, not a forecast. Marginal Barrel, vietnam-gas-power-balance-v1.
One 1 GW LNG plant for one year under three contract structures, at the scenario LNG price. Who pays what, and whether the plant covers its fixed cost. Model output, not a forecast.
Line | Qc 65% / 10 yrs (current) | Qc 75% / 15 yrs (draft) | Two-part: capacity + fuel recovery | Note
Plant size (MW) | 1000 | 1000 | 1000
Average multi-year output in the PPA (GWh) = MW × 8.76 × planned load factor | 7446 | 7446 | 7446 | Basis is an assumption (Inputs D5)
Qc share | 65% | 75% | 0% | Two-part has no volume guarantee; dispatch by merit
Qc (GWh) | 4839.9 | 5584.5 | 0
Actual dispatch (GWh) = MW × 8.76 × actual capacity factor | 3328.8 | 3328.8 | 3328.8 | Inputs D7; NT3&4-implied 38%
Contract price (US$/MWh) = LNG fuel + non-fuel element | 149.0584 | 149.0584 | 149.0584 | Energy price only; the two-part column uses fuel pass-through plus a capacity payment
Market price (US$/MWh), 2025 average | 56.8656 | 56.8656 | 56.8656
Contracted fuel at the Qc level (m MMBtu) = Qc × heat rate × take-or-pay share | 26.9172 | 31.0583 | 18.5132 | Two-part: fuel contracted to the agreed dispatch level (= actual here, so no stranded fuel)
Fuel burned (m MMBtu) = actual × heat rate | 21.7802 | 21.7802 | 21.7802
Unburned take-or-pay fuel (m MMBtu) | 5.137 | 9.2781 | 0
EVN pays: energy on actual dispatch (US$ m) | 496.1856 | 496.1856 | 367.4321 | Two-part: fuel pass-through only on energy
EVN pays: settlement on undispatched Qc (contract − market) (US$ m) | 139.3126 | 207.9594 | 0 | Qc is a financial commitment, not a dispatch guarantee (MOIT via Hogan Lovells)
EVN pays: capacity payment (US$ m) | 0 | 0 | 175 | Scenario fixed cost (Low/High)
EVN pays: fuel take-or-pay recovery (US$ m) | 0 | 0 | 0 | Zero here because contracted fuel = burned; rises if dispatch falls below the agreed level
EVN total (US$ m) | 635.4982 | 704.145 | 542.4321
EVN cost of the same energy at the market price (US$ m) | 189.2941 | 189.2941 | 189.2941
EVN premium over market (US$ m) | 446.2041 | 514.8508 | 353.138 | What the structure costs the buyer above the merit-order alternative
Generator: revenue (US$ m) | 635.4982 | 704.145 | 542.4321
Generator: fuel burned (US$ m) | 367.4321 | 367.4321 | 367.4321
Generator: unburned take-or-pay fuel (US$ m) | 86.6608 | 156.5212 | 0
Generator: fixed cost (US$ m) at the scenario case | 175 | 175 | 175
Generator: margin after fixed cost (US$ m) | 6.4053 | 5.1917 | 0 | Two-part is zero by construction: the capacity payment is set at fixed cost
Generator: fixed-cost cover = (revenue − fuel − take-or-pay) ÷ fixed cost | 1.0366 | 1.0297 | 1 | Below 1.0 the plant does not service its fixed cost in that year
Years of cover | 10 | 15 | 20 | Two-part term is our assumption (financing tenor)
Contracted fuel as a multiple of fuel burned | 1.2359 | 1.426 | 0.85 | Above 1.0 the plant contracts more fuel than the grid lets it burn; the surplus is the stranded take-or-pay in row 14
Reading: at a 38% dispatch factor the current rule pays the plant for 65% of its planned output and still leaves part of its fuel take-or-pay stranded (row 14); raising Qc to 75% moves more money without changing what the grid burns. The two-part column pays fixed cost openly, pays fuel only when burned or stranded, and dispatches by merit. The comparison that matters is the buyer's premium (row 21) against the firm capacity it buys (Balance). Model output, not a forecast.

## Post numbers
Sources: see the Sources sheet; every input is referenced on Inputs. Model output, not a forecast. Marginal Barrel, vietnam-gas-power-balance-v1.
The numbers used in the post, each traceable to Inputs. Model output, not a forecast.
Capacity bill as a share of the retail tariff (chart C4): GW × fixed cost ÷ 2025 sales ÷ retail price
Tranche | GW | Low (US$ bn) | High (US$ bn) | Low % of tariff | High % of tariff | Low % on 2030 PDP8 demand | High % on 2030 PDP8 demand
Capped tranche (Hiep Phuoc 1 + Quang Ninh 1 + Quang Trach II) | 4.2 | 0.735 | 1.2096 | 3.118% | 5.132% | 1.602% | 2.636%
Ministry's ~6,000 MW costing basis | 6 | 1.05 | 1.728 | 4.455% | 7.331% | 2.288% | 3.766%
Full 2030 LNG plan | 22.524 | 3.9417 | 6.4869 | 16.72% | 27.52% | 8.59% | 14.14%
Storage, ministry proposal (2,800 MW, 2 h) | 2.8 | 0.0672 | 0.084 | 0.2851% | 0.3564%
Thailand reference: availability payments as share of base tariff (IEEFA, advocacy) |  |  |  | 17%
Other numbers used in the post
Retail cut (VND/kWh) |  |  |  | 44.1618
Cost of the cut over the reported window (VND tn) |  |  |  | 5.2967
Cost of the cut over the reported window (US$ bn) |  |  |  | 0.2008
Retail price above EVN's 2025 unit cost |  |  |  | 3.211%
NT3&4 premium over the 2025 market average — low report (US$/MWh) |  |  |  | 51.179
NT3&4 premium — high report (US$/MWh) |  |  |  | 79.6118
NT3&4 premium on the 2026 forecast — low (VND tn/yr) |  |  |  | 7.29
NT3&4 premium on the 2026 forecast — high (VND tn/yr) |  |  |  | 11.34
NT3&4 premium as share of the retail tariff on 2025 sales — low |  |  |  | 1.173%
NT3&4 premium as share of the retail tariff — high |  |  |  | 1.824%
Hours of full-load shortage avoided per year for 1 GW to pay for itself — low fixed cost |  |  |  | 112.5
Hours — high fixed cost |  |  |  | 185.1437
Hours — two-hour storage, low price |  |  |  | 15.4286
Hours — two-hour storage, high price |  |  |  | 19.2857
GW of LNG capacity the tariff-cut money would pay for a year — low / high fixed cost |  |  |  | 1.1474
high fixed cost |  |  |  | 0.69721
GW of two-hour storage the tariff-cut money would pay for a year — low / high price |  |  |  | 6.6933
low price |  |  |  | 8.3666
Headroom to the Prime Minister's ceiling (VND tn/yr on 2025 sales) |  |  |  | 81.803
Headroom (US$ bn) |  |  |  | 3.1012
TWh of LNG power at the 2026 ceiling that headroom absorbs (static) |  |  |  | 62.0689
TWh absorbable at the Dec-26 JKM all-in cost (static) |  |  |  | 17.46
Ministry's '+73%': 75 × 15 ÷ (65 × 10) |  |  |  | 73.08%
Coal imports share of coal supply, 2024 (energy) |  |  |  | 55.71%
Coal imports 2024 ÷ 2018 |  |  |  | 2.9513
Coal production 2024 ÷ 2018 − 1 |  |  |  | 22.63%
2027 energy shortfall as share of 2027 demand |  |  |  | 0.7576%
Fixed cost — high case, derived (US$/kW-yr) |  |  |  | 288.0013
Non-fuel share of the 2026 ceiling at US$11.98 gas |  |  |  | 29.91%
Non-fuel share of an all-in LNG price at the Dec-26 JKM |  |  |  | 15.05%

## Charts
Sources: see the Sources sheet; every input is referenced on Inputs. Model output, not a forecast. Marginal Barrel, vietnam-gas-power-balance-v1.
Data behind charts C1–C5 in the post (the PNGs are built from these cells)
C1 — Target vs reality: Vietnam's LNG fleet (MW, one bar = the 2030 target)
Operating: Nhon Trach 3&4 (PVN, since 1 Jan 2026) | 1624
Under construction: Hiep Phuoc 1 (private) + Quang Trach II (EVN) | 2700
Named for the 75% draft, no PPA: Quang Ninh 1 | 1500
Rest of the 2030 target | 16700
Share of the target operating | 7.21%
Share operating + building | 19.2%
C2 — What a megawatt-hour costs at the margin: see Stack!B5:D23 (US$/MWh and VND/kWh)
C3 — The shortfall arrives before the plants do (MW)
| 2027 | 2028 | 2029 | 2030
Ministry shortfall, national | 4256 | 8309 | 13348 | 13964
Ministry shortfall, North | 5680 | 9678 | 14081 | 13026
Firm additions online, cumulative, Current policy (nameplate × firm credit) | 1894 | 5713.5 | 6658.5 | 8953.5
Firm additions online, cumulative, Corrected policy | 4694 | 8513.5 | 9458.5 | 13103.5
of which not counted by the ministry (Corrected) | 4100 | 5800 | 5800 | 8500
C4 — How big a capacity bill Vietnam can carry: see Outputs capacity-bill table
C5 — Coal is the swing fuel, not a trend (generation shares, %)
| Coal | Hydro | Gas | Renewables | Imports | Other/oil
2025 (BNEF via The Star, 7 Oct 2026; gas and imports not published, residual) | 46% | 34% |  | 8%
Jan–Apr 2025 (The Shiv / EVN) | 57.2%
H1 2026 (EVN H1 report) | 54.5% | 21% | 8% | 12.9% | 3.5% | 0.1%
9M 2026 (EVN, 6 Oct 2026) | 49.9% | 25.8% | 7.7% | 12.6% | 3.9% | 0.1%
Ember annual 2020–24 for Viet Nam still to pull (the CSVs in the research folder are the World series).

## Checks
Calibration and sanity checks
Check | Model | Reference | Comment
C1 Fuel at the ceiling's own parameters (gas 11.98 + 1.87, 6,542.96 Btu/kWh, FX 26,378) in VND/kWh vs the ceiling | 2390.3743 | 3410.64 | Fuel is ~70% of the ceiling; the remainder (~VND 1,020) is capital, O&M and return. Consistent with a ~30% non-fuel share, above the investors' 20%
C2 Retail cut: 1 − C9/C10 | 2.004% | 2% | EVN announced 2%
C3 2027 energy shortfall (TWh) vs 2027 capacity shortfall × 680 h | 2.9 | 2.8941 | Implied ~680 full-load hours: a peak problem, not an energy problem. 2030: 61.18 TWh on 13,964 MW ≈ 4,400 h — an energy problem
C4 Coal imports share of supply, 2024 (IEA) | 55.71% | 50% | Imports exceed half of coal supply by energy
C5 Non-fuel element: 2024 ceiling (D9 basis) vs 2026 ceiling (D10), US$/kW-yr | 175 | 288.0013 | Both routes land at US$175–290; the 2026 route includes variable O&M and a higher gas price in the fuel strip
C6 LNG need at NT3&4's 2026 forecast (Mt) vs Shell 0.4 Mt + spot | 0.67946 | 0.4 | 5.4 TWh needs ~0.7 Mt: the term contract covers about half; H1 2026 imports were ~354 kt (The Investor, 12 Jun 2026)
C7 Balance 2026 generation vs EVN 9M run-rate × 12/9 | 352.8204 | 354.3867 | Q4 is seasonally higher (NSMO Q4 plan 88.97 TWh), so the run-rate understates slightly
C8 Ministry's '+73%' reproduced from 75 × 15 ÷ (65 × 10) | 73.08% | 73% | The Leader, 22 Jun 2026

## Sources
Source log (public documents only)
Short name | Document | Date | Reliability
Decree 56/2025 | Government of Vietnam, Decree 56/2025/NĐ-CP detailing the Electricity Law (3 Mar 2025), Art. 15 | Mar 2025 | primary
Decree 100/2025 | Government of Vietnam, Decree 100/2025/NĐ-CP amending Art. 15 of Decree 56/2025 (8 May 2025): Qc ≥65% of multi-year average output, ≤10 years, COD before 1 Jan 2031 | May 2025 | primary
Decision 1882 | MOIT Decision 1882/QĐ-BCT approving the 2026 generation price framework for natural-gas CCGTs (23 Jul 2026) | Jul 2026 | primary
Decision 2892 | MOIT Decision 2892/QĐ-BCT on electricity selling prices (31 Oct 2026); EVN Decision 1305/QĐ-EVN (30 Oct 2026) | Oct 2026 | primary
Decision 768 | Prime Minister's Decision 768/QĐ-TTg approving the revised PDP8 (15 Apr 2025), Annex III Table 1 (LNG projects) | Apr 2025 | primary (scanned)
Dispatch 10790 | Government Office Official Dispatch 10790/VPCP-CN (22 Oct 2026) via Vietnam Energy Review (26 Oct) and VnEconomy (23 Oct) | Oct 2026 | press of primary
MOIT 20 Oct 2026 | MOIT portal: Minister Lê Mạnh Hùng clarifies major issues in the draft Electricity Law amendment (capacity price; 21 LNG projects ~36,000 MW) | Oct 2026 | primary (portal)
EVN releases | EVN press releases: H1 2026 operations (Jul 2026); September 2026 operations (6 Oct 2026); Quang Trach II groundbreaking (20 Oct 2026); EVNHANOI BESS (6 Jul 2026) | 2026 | primary
MOIT shortfall | MOIT urgent report to the PM (Sep 2026) via Tiền Phong (15 Sep 2026) and Báo Đấu thầu (18 Sep 2026) | Sep 2026 | press
Hogan Lovells | Hogan Lovells Cadwalader, 'Vietnam considers strengthening offtake guarantees for LNG-to-power projects', via Lexology (14 May 2026) | May 2026 | law-firm summary
A&O Shearman | A&O Shearman, 'Vietnam: impact on LNG-to-power projects of the new Electricity Law guiding Decree 56' (18 Mar 2025) | Mar 2025 | law-firm summary
The Leader | The Leader, 22 Jun 2026 (over-contracting; VND 1.1 quadrillion; NT3&4 ~2,850; ~5,000 spike) | Jun 2026 | press
Vietnam News / VIR / VnExpress / Tuoi Tre | 75%/15-year proposals (Nov 2025, Jan 2026); EVN 2024 report of 72–90% asks; broker estimate of NT3&4 price (27 Aug 2026) | 2025–26 | press
Vietcap via The Investor | NT3&4 2026 generation forecast 5.4 TWh; Jan–Apr = 28% (8 Jun 2026) | Jun 2026 | broker
PV Power Q3 2026 | PetroVietnam Power Corporation, explanation of Q3 2026 results (30 Oct 2026): parent sales +VND 8,105bn y/y; no plant breakdown | Oct 2026 | primary
IEA coal | IEA, Viet Nam coal production, supply, imports and exports (TJ), 2000–2024 | 2024 | primary
Pink Sheet | World Bank Commodity Price Data, 3 Nov 2026 | Nov 2026 | primary
CME JKM | CME Group, LNG Japan/Korea Marker (Platts) futures settlements, trade date 6 Nov 2026 (public page) | Nov 2026 | primary (public)
World Bank 2023 | World Bank Taking Stock (Aug 2023) via AFP/BSS (11 Aug 2023); ~900 GWh via VnExpress (10 Aug 2023) | Aug 2023 | press of primary
World Bank 2019 | World Bank Group technical assistance on LNG-to-power in Vietnam (2019) | 2019 | primary
AZEC petition | Investor petition (8 Dec 2025) via Vietnam Energy Review (18 Dec 2025) | Dec 2025 | advocacy
IEEFA | IEEFA on Thailand's availability payments and idle gas fleet | 2025–26 | advocacy
ESS News | ESS News, 12 Feb 2026: Indian two-hour BESS tenders US$2,000–2,500/MW-month | Feb 2026 | press
Circular 62 | MOIT Circular 62/2025/TT-BCT on BESS pricing (effective 26 Jan 2026) via Vietnam Briefing and Norton Rose Fulbright | Jan 2026 | law-firm summary
SGGP | SGGP, 31 Dec 2025: Block B first gas Aug 2027, 5.06 bcm/yr, O Mon plant schedule | Dec 2025 | press
Policy commission | Party Central Committee policy commission workshop (5 Nov 2026) via Vietnam News and VietnamNet | Nov 2026 | press

## Extras
Sources: see the Sources sheet; every input is referenced on Inputs. Model output, not a forecast. Marginal Barrel, vietnam-gas-power-balance-v1.
Extras (working not needed to follow the post). Part 1: domestic gas, Block B and the LNG need (bcm, TWh, Mt). Part 2, below: the nine-case grid. Model output, not a forecast.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Existing fields (bcm) | 5.9 | 5.4103 | 4.9612 | 4.5495 | 4.1719 | 3.8256
Block B (bcm) | 0 | 0 | 0.759 | 3.036 | 5.06 | 5.06
Total domestic gas (bcm) | 5.9 | 5.4103 | 5.7202 | 7.5855 | 9.2319 | 8.8856
Gas to power (bcm) | 4.72 | 4.3282 | 4.5762 | 6.0684 | 7.3855 | 7.1085
Domestic-gas generation possible (TWh) | 22.656 | 20.7756 | 21.9657 | 29.1282 | 35.4503 | 34.1207
LNG-fired generation under the selected policy (TWh) | 0 | 5.406 | 5.406 | 9.4005 | 9.4005 | 14.3937
LNG required (Mt) | 0 | 0.68021 | 0.68021 | 1.1828 | 1.1828 | 1.8111
Thi Vai capacity (Mt, 1 → 3 from 2028, assumption) | 1 | 1 | 1 | 3 | 3 | 3
Term LNG contracted (Shell, Mt) | 0 | 0 | 0.4 | 0.4 | 0.4 | 0.4
Reading: existing fields lose about half their output by 2030 on the 2025 decline rate; Block B replaces most of it from 2028. The LNG need at the modelled dispatch factor is ~0.7 Mt in 2026–27, ~1.2 Mt in 2028–29 with Hiep Phuoc 1 and ~1.8 Mt in 2030 with Quang Trach II — below BNEF's 3 Mt, because the model dispatches LNG plants at ~38%, not 85%. Change D7 on Inputs to see the fuel-bill consequence of a higher Qc basis.
Nine-case grid: 3 policies × 3 LNG prices (fixed cost and coal at the Start here selectors). Model output, not a forecast.
Policy | LNG $ | Residual shortfall 2027–30 (TWh) | Indicative cost of unserved 2027–30 at the 2023 value (US$ bn, upper bound) | Capacity payments 2030 (US$ bn/yr) | Capacity payments 2030 (% of tariff) | LNG need 2030 (Mt) | LNG fuel bill 2030 (US$ bn) | Firm MW online 2030 (not counted) | Buyer premium, 1 GW plant (US$ m/yr) | Generator fixed-cost cover
Current | 10 | 96.4343 | 150.0089 | 0 | 0% | 1.8111 | 1.1179 | 4350 | 287.8677 | 0.90088
Current | 15 | 96.4343 | 150.0089 | 0 | 0% | 1.8111 | 1.5888 | 4350 | 446.2041 | 1.0366
Current | 25 | 96.4343 | 150.0089 | 0 | 0% | 1.8111 | 2.5306 | 4350 | 762.8768 | 1.308
Draft | 10 | 90.5196 | 140.8083 | 0 | 0% | 2.4394 | 1.5057 | 5700 | 332.155 | 0.87307
Draft | 15 | 90.5196 | 140.8083 | 0 | 0% | 2.4394 | 2.1399 | 5700 | 514.8508 | 1.0297
Draft | 25 | 90.5196 | 140.8083 | 0 | 0% | 2.4394 | 3.4084 | 5700 | 880.2424 | 1.3429
Corrected | 10 | 58.7962 | 91.4608 | 0.8106 | 3.439% | 2.4394 | 1.5057 | 8500 | 244.2369 | 1
Corrected | 15 | 58.7962 | 91.4608 | 0.8106 | 3.439% | 2.4394 | 2.1399 | 8500 | 353.138 | 1
Corrected | 25 | 58.7962 | 91.4608 | 0.8106 | 3.439% | 2.4394 | 3.4084 | 8500 | 570.94 | 1
Reading: the LNG price moves the fuel bill and the buyer's premium, not the shortfall; the policy moves the shortfall through the additions it brings. The Corrected row's capacity payments buy the firm MW in column J; the Current row's lower bill buys the shortfall in column D.